| MANUFACTURER/SUPPLIER CHECKLIST The manufacturer/supplier checklist is not one single document but comprises of various steps, including: - Factory Acceptance Testing (FAT) - Punchlist - Panel Split will determine transport and loading/unloading arrangements - Permission to Ship. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Electrical Equipment Reference No: |  |  |  |  |
| Number of Pieces: |  |  |  |  |
| No. | Checklist Items: |  | Yes | No |
| 01 | Has a successful Factory Acceptance Testing (FAT) been completed? |  | ☐ | ☐ |
| 02 | Has a Permission to Ship form been received, as per Appendix 1 – Permission to Ship Template? |  | ☐ | ☐ |
| 03 | Have the as-built split transportation GA drawings been provided to the project team? |  | ☐ | ☐ |
| 04 | Have the as-built split transportation GA drawings been provided (i.e. attached to each section)? |  | ☐ | ☐ |
| 05 | Have the CoG labelling been provided on external protection (two sides) and on the internal panel? |  | ☐ | ☐ |
| 06 | Are weights clearly displayed on external protection and internal panel? |  | ☐ | ☐ |
| 07 | Are lifting lugs provided by the manufacturer/ supplier? |  | ☐ | ☐ |
| 08 | Are all panels loaded as per applicable load plan developed for transportation? |  | ☐ | ☐ |
| 09 | Has the electrical equipment been loaded safely for transportation and offload? |  | ☐ | ☐ |
| Additional Comments: |  |  |  |  |
| - Unsafe loads will be refused offloading at project site. |  |  |  |  |

This template is referenced as Appendix 2 in the CIF Guidance on the Lift and Shift of Electrical Equipment. Available at: https://cif.ie/

A template is provided as Appendix 1 in the CIF Guidance on the Lift and Shift of Electrical Equipment. Available at: https://cif.ie/